## pre CV2
GR 700 spectra location on detector. Indecies for ZnS and ZnSe as per Leviton's data (SPIE papers) | [11 empty] | Spectra shift due to PW position error
Code V as-built model for NIRISS |  |  | Object at the ''sweet spot": x=-0.0848 deg, y=0.0745deg | [9 empty] | Detector size: x/2=y/2=18.432mm
| m=1 | chief ray | m=2 | chief ray | m=0 |  | m=3 |  | m=-1 |  |  | m=1 PW =+0.165 deg
wavelength | x | y | x | y | x | y | x | y | x | y |  | x | y | Δx(mm) | Δy(mm) | Δx(pixel) | Δy(pixel)
0.5
0.55
0.6
0.65
0.7 | -17.0913 | 15.2219 | -17.412 | 2.6273
0.75 | -16.6816 | 14.1238 | -17.0255 | 0.62197 | -16.3544 | 27.584 | -17.3923 | -12.9897 | -16.0298 | 41.0359
0.8 | -16.374 | 13.0688 | -16.7415 | -1.3421 | [7 empty] | -16.3763 | 13.0332 | -0.00225 | -0.03558 | -0.125 | -1.9767
0.85 | -16.1374 | 12.0447 | -16.5289 | -3.2772 | -15.7678 | 27.3011 | -16.9529 | -18.7765 | -15.4013 | 42.5448
0.9 | -15.9519 | 11.0435 | -16.3678 | -5.1917
0.95 | -15.8046 | 10.0597 | -16.2453 | -7.0911 | -15.392 | 27.1134 | -16.7347 | -24.5261 | -14.9828 | 44.1475
1 | -15.6864 | 9.0892 | -16.1523 | -8.9798 | [7 empty] | -15.6773 | 9.0556 | 0.00912 | -0.03363 | 0.50667 | -1.8683
1.05 | -15.5909 | 8.1293 | -16.0825 | -10.8609 | -15.1348 | 26.9814 | -16.6506 | -30.3109 | -14.6822 | 45.8042
1.1 | -15.5136 | 7.1777 | -16.0312 | -12.7368
1.15 | -15.4507 | 6.2329 | -15.995 | -14.6096 | -14.9505 | 26.8847 | -16.6628 | -36.2034 | -14.4536 | 47.4939
1.2 | -15.3998 | 5.2934 | -15.9713 | -16.4811
1.25 | -15.3587 | 4.3585 | -15.9582 | -18.353 | -14.814 | 26.8115 | -16.7569 | -42.2899 | -14.2719 | 49.204
1.3 | -15.3258 | 3.4271 | -15.9542 | -20.2267 | [7 empty] | -15.3004 | 3.3945 | 0.02537 | -0.03263 | 1.4094 | -1.8128
1.35 | -15.2998 | 2.4987 | -15.9581 | -22.1039 | -14.7102 | 26.7545 | -16.9305 | -48.6749 | -14.122 | 50.9266
1.4 | -15.2797 | 1.5728 | -15.9691 | -23.9862
1.45 | -15.2646 | 0.64892 | -15.9866 | -25.8753 | -14.6298 | 26.7093 | -17.1869 | -55.478 | -13.9942 | 52.6562
1.5 | -15.2539 | -0.27333 | -16.0101 | -27.7731 | [7 empty] | -15.2179 | -0.30579 | 0.036 | -0.03246 | 2 | -1.8033
1.55 | -15.247 | -1.1942 | -16.0393 | -29.6817 | -14.5665 | 26.6726 | -17.5314 | -62.8221 | -13.8824 | 54.3885
1.6 | -15.2434 | -2.114 | -16.0742 | -31.6034
1.65 | -15.2428 | -3.033 | -16.1146 | -33.5407 | -14.5162 | 26.6425 | -17.9661 | -70.8149 | -13.782 | 56.1202
1.7 | -15.2447 | -3.9513 | -16.1606 | -35.4964 | [7 empty] | -15.1981 | -3.9837 | 0.04659 | -0.03246 | 2.5883 | -1.8033
1.75 | -15.2489 | -4.8691 | -16.2123 | -37.4736 | -14.4759 | 26.6173 | -18.4872 | -79.5247 | -13.6898 | 57.8484
1.8 | -15.2551 | -5.7865 | -16.2699 | -39.4756
1.85 | -15.2632 | -6.7038 | -16.3336 | -41.506 | -14.4434 | 26.596 | -19.0817 | -88.9554 | -13.6036 | 59.5703
1.9 | -15.273 | -7.6209 | -16.4039 | -43.5686
1.95 | -15.2843 | -8.5381 | -16.481 | -45.6677 | -14.4172 | 26.5778 | -19.727 | -99.026 | -13.5215 | 61.2831
2 | -15.297 | -9.4555 | -16.5652 | -47.8073 | [7 empty] | -15.2346 | -9.4881 | 0.06245 | -0.03267 | 3.4694 | -1.815
2.05 | -15.311 | -10.373 | -16.6569 | -49.9921 | -14.3961 | 26.5621 | -20.3905 | -109.561 | -13.4419 | 62.9841
2.1 | -15.3261 | -11.291 | -16.7566 | -52.2264
2.15 | -15.3424 | -12.2093 | -16.8646 | -54.515 | -14.3792 | 26.5483 | -21.0334 | -120.2949 | -13.3638 | 64.6704
2.2 | -15.3597 | -13.1282 | -16.9811 | -56.8622 | [7 empty] | -15.2866 | -13.1611 | 0.07304 | -0.03289 | 4.0578 | -1.8272
2.25 | -15.3779 | -14.0477 | -17.1065 | -59.2726 | -14.3658 | 26.5362 | -21.6145 | -130.8949 | -13.286 | 66.3389
2.3 | -15.397 | -14.968 | -17.241 | -61.7501
2.35 | -15.417 | -15.889 | -17.3848 | -64.2989 | -14.3554 | 26.5255 | -22.0969 | -141.0085 | -13.2077 | 67.9864
2.4 | -15.4378 | -16.811 | -17.5379 | -66.9221 | [7 empty] | -15.3541 | -16.8442 | 0.08365 | -0.03316 | 4.6472 | -1.8422
2.45 | -15.4594 | -17.734
2.5 | -15.4817 | -18.6582 | [10 empty] | x |  |  |  | x
2.55 | -15.5049 | -19.5837 | [8 empty] | λ m1 | 2500 | -15.4817 |  | λ m1 | 2000 | -15.297
2.6 | -15.5287 | -20.5106 | [8 empty] | λ m2 | 1250 | -15.9582 |  | λ m2 | 1050 | -16.0825
2.65 | [10 empty] | Δx (mm) |  | 0.47649 |  | Δx (mm) |  | 0.78546
2.7 | [10 empty] | Δx(pixel) |  | 26.4717 |  | Δx(pixel) |  | 43.6367
2.75
2.8
2.85
2.9
2.95
3
3.05
3.1
3.15
3.2
3.25
3.3
3.35
3.4
3.45
3.5
3.55
3.6
3.65
3.7
3.75
3.8
3.85
3.9
3.95
4
4.05
4.1
4.15
4.2
4.25
4.3
4.35
4.4
4.45
4.5
4.55
4.6
4.65
4.7
4.75
4.8
4.85
4.9
4.95
5
5.05
5.1
5.15
5.2
5.25
5.3
5.35
5.4
5.45
5.5

## post OTIS
2020-01-06 |  | 18.432/0.018=1024 pixels |  |  | 256x0.018=4.608 mm |  | Note: Standart NIRISS model was used which does not include +1.1 deg PW rotation. Accuracy of spectra location is probably better than 20 pixels.
| Code V |  | ds9 |  | Code V |  | ds9 |  | Code V |  | ds9 |  | Code V |  | ds9 |  | Code V |  | ds9 |  | Code V 2048x256 strip |  | ds9 strip
GR 700 spectra location on detector. Indecies for ZnS and ZnSe as per Leviton's data (SPIE papers) | [20 empty] | 18.432 | -18.432 | 4.608 | 0
Code V as-built post OTIS model for NIRISS |  |  | Object at the ''sweet spot": x=-0.0972 deg, y=0.06063 deg | [17 empty] | 18.432 | -13.824 | 0 | 0
| m=1 | chief ray | m=1 | chief ray | m=-1 |  | m=-1 |  | m=0 |  | m=0 |  | m=2 |  | m=2 |  | m=3 |  | m=3 |  | -18.432 | -13.824 | 0 | 36.864
wavelength | x | y | x | y | x | y | x | y | x | y | x | y | x | y | x | y | x | y | x | y | -18.432 | -18.432 | 4.608 | 36.864
0.5 | [20 empty] | 18.432 | -18.432 | 4.608 | 0
0.55
0.6 | -23.4454 | -17.759 | 0.67301 | -5.0134 | -45.5035 | -17.2352 | 1.1968 | -27.0715 | -34.4265 | -17.4869 | 0.94515 | -15.9945 | -12.5285 | -18.0307 | 0.4013 | 5.9035 | -1.6508 | -18.2952 | 0.13681 | 16.7812
0.65 | [12 empty] | -10.3482 | -17.2131 | 1.2189 | 8.0838 | 1.4246 | -17.4977 | 0.93427 | 19.8566
0.7 | -20.9778 | -16.3381 | 2.0939 | -2.5458 | -46.6707 | -15.7026 | 2.7294 | -28.2387 |  |  |  |  | -8.2689 | -16.6562 | 1.7758 | 10.1631 | 4.4012 | -16.96 | 1.472 | 22.8332
0.75 | [12 empty] | -6.2554 | -16.2584 | 2.1736 | 12.1766 | 7.314 | -16.5808 | 1.8512 | 25.746
0.8 | -18.791 | -15.6041 | 2.8279 | -0.35899 | -48.1334 | -14.867 | 3.565 | -29.7014 | -33.3859 | -15.2269 | 3.2051 | -14.9539 | -4.2872 | -15.9652 | 2.4668 | 14.1448 | 10.1836 | -16.3055 | 2.1265 | 28.6156
0.85 | [12 empty] | -2.3516 | -15.7442 | 2.6878 | 16.0804 | 13.0229 | -16.1021 | 2.3299 | 31.4549
0.9 | -16.7402 | -15.1733 | 3.2587 | 1.6918 | -49.7396 | -14.3398 | 4.0922 | -31.3076 |  |  |  |  | -0.44006 | -15.5753 | 2.8567 | 17.9919 | 15.8404 | -15.9504 | 2.4816 | 34.2724
0.95 | [12 empty] | 1.4532 | -15.445 | 2.987 | 19.8852 | 18.6424 | -15.837 | 2.595 | 37.0744
1 | -14.7656 | -14.9027 | 3.5293 | 3.6664 | -51.4279 | -13.9766 | 4.4554 | -32.9959 | -32.9802 | -14.429 | 4.003 | -14.5482 | 3.3323 | -15.3441 | 3.0879 | 21.7643 | 21.4332 | -15.753 | 2.679 | 39.8652
1.05 | [12 empty] | 5.2004 | -15.266 | 3.166 | 23.6324
1.1 | -12.8379 | -14.7265 | 3.7055 | 5.5941 | -53.1681 | -13.711 | 4.721 | -34.7361 |  |  |  |  | 7.0598 | -15.2059 | 3.2261 | 25.4918
1.15 | [12 empty] | 8.9124 | -15.1602 | 3.2718 | 27.3444
1.2 | -10.9409 | -14.6101 | 3.8219 | 7.4911 | -54.9441 | -13.5085 | 4.9235 | -36.5121 | -32.774 | -14.0432 | 4.3888 | -14.342 | 10.7594 | -15.1263 | 3.3057 | 29.1914
1.25 | [12 empty] | 12.6022 | -15.102 | 3.33 | 31.0342
1.3 | -9.0649 | -14.5336 | 3.8984 | 9.367 | -56.7466 | -13.3495 | 5.0825 | -38.3146 |  |  |  |  | 14.4416 | -15.0857 | 3.3463 | 32.8736
1.35 | [12 empty] | 16.2784 | -15.0761 | 3.3559 | 34.7104
1.4 | -7.204 | -14.485 | 3.947 | 11.2279 | -58.5702 | -13.2221 | 5.2099 | -40.1382 | -32.6534 | -13.8273 | 4.6047 | -14.2214 | 18.1132 | -15.0721 | 3.3599 | 36.5452
1.45 | [12 empty] | 19.9467 | -15.073 | 3.359 | 38.3787
1.5 | -5.3542 | -14.4564 | 3.9756 | 13.0778 | -60.4113 | -13.1189 | 5.3131 | -41.9793 |  |  |  |  | 21.7792 | -15.078 | 3.354 | 40.2112
1.55
1.6 | -3.5125 | -14.4427 | 3.9893 | 14.9195 | -62.2682 | -13.035 | 5.397 | -43.8362 | -32.5761 | -13.6962 | 4.7358 | -14.1441
1.65
1.7 | -1.6772 | -14.4401 | 3.9919 | 16.7548 | -64.1395 | -12.9673 | 5.4647 | -45.7075
1.75
1.8 | 0.1533 | -14.4462 | 3.9858 | 18.5853 | -66.0247 | -12.9137 | 5.5183 | -47.5927 | -32.5232 | -13.6127 | 4.8193 | -14.0912
1.85
1.9 | 1.9801 | -14.459 | 3.973 | 20.4121 | -67.9237 | -12.8727 | 5.5593 | -49.4917
1.95
2 | 3.8039 | -14.4772 | 3.9548 | 22.2359 | -69.8365 | -12.8435 | 5.5885 | -51.4045 | -32.4851 | -13.5586 | 4.8734 | -14.0531
2.05
2.1 | 5.6256 | -14.4998 | 3.9322 | 24.0576 | -71.7633 | -12.8253 | 5.6067 | -53.3313
2.15
2.2 | 7.4456 | -14.5259 | 3.906 | 25.8776 | -73.7043 | -12.8178 | 5.6142 | -55.2723 | -32.4565 | -13.5237 | 4.9083 | -14.0245
2.25
2.3 | 9.2645 | -14.555 | 3.877 | 27.6965 | -75.6598 | -12.8208 | 5.6112 | -57.2278
2.35
2.4 | 11.0826 | -14.5865 | 3.8455 | 29.5146 | -77.6299 | -12.8339 | 5.5981 | -59.1979 | -32.4342 | -13.5022 | 4.9298 | -14.0022
2.45
2.5 | 12.9002 | -14.6201 | 3.8119 | 31.3322 | -79.6148 | -12.8572 | 5.5748 | -61.1827
2.55
2.6 | 14.7178 | -14.6555 | 3.7765 | 33.1497 | -81.614 | -12.8904 | 5.5416 | -63.182 | -32.4162 | -13.4904 | 4.9416 | -13.9842
2.65
2.7 | 16.5354 | -14.6924 | 3.7395 | 34.9674 | -83.627 | -12.9333 | 5.4987 | -65.195
2.75
2.8 | 18.3534 | -14.7307 | 3.7013 | 36.7854 | -85.653 | -12.9856 | 5.4464 | -67.221 | -32.4013 | -13.4861 | 4.9459 | -13.9693
2.85
2.9 | 20.1721 | -14.7703 | 3.6617 | 38.6041 | -87.6906 | -13.047 | 5.385 | -69.2586
2.95
3 | 21.9916 | -14.8109 | 3.6211 | 40.4236 | -89.7377 | -13.117 | 5.315 | -71.3057 | -32.3887 | -13.4875 | 4.9445 | -13.9567
3.05
3.1
3.15
3.2 | [8 empty] | -32.3777 | -13.4938 | 4.9382 | -13.9457
3.25
3.3
3.35
3.4 | [8 empty] | -32.3679 | -13.5041 | 4.9279 | -13.9359
3.45
3.5
3.55
3.6 | [8 empty] | -32.3591 | -13.5178 | 4.9142 | -13.9271
3.65
3.7
3.75
3.8 | [8 empty] | -32.3509 | -13.5346 | 4.8974 | -13.9189
3.85
3.9
3.95
4 | [8 empty] | -32.3433 | -13.5541 | 4.8779 | -13.9113
4.05
4.1
4.15
4.2 | [8 empty] | -32.336 | -13.5762 | 4.8557 | -13.904
4.25
4.3
4.35
4.4 | [8 empty] | -32.3291 | -13.6007 | 4.8313 | -13.8971
4.45
4.5
4.55
4.6 | [8 empty] | -32.3223 | -13.6275 | 4.8045 | -13.8903
4.65
4.7
4.75
4.8 | [8 empty] | -32.3157 | -13.6564 | 4.7756 | -13.8837
4.85
4.9
4.95
5 | [8 empty] | -32.3092 | -13.6874 | 4.7446 | -13.8772
5.05
5.1
5.15
5.2 | [8 empty] | -32.3027 | -13.7204 | 4.7116 | -13.8707
5.25
5.3
5.35
5.4
5.45
5.5